## Slide 1: Weekly Report – 2026 WK37
HungFu Lin
AMMS/MWC/TD&SW

## Slide 2: Status report
ID # | Status | Event Description | Plan |  | Actual | To-do & Status update
 |  |  | Start | End | Finish | 
1 | Done | [WM2308-EXT1] – RFDate Test Log Converter | 7/23 | 7/23 | 7/23 | 1. Added auto-compatibility for the sensitivity field (sensitivity_per-dBm) (Done)
2 | Done | [WM2308/WM2305] – TD support –Octavia tool | 9/10 | 9/10 | 9/10 | Release Octavia tool v3.5.0 and v3.5.1 (Done) Review Octavia log for SB9024 error issue. - It is a testing issue. Unrelated to Octavia.
3 | Done | [Miscellaneous] – New transmission platform between ATE&SFIS | 9/7 | 9/11 | 9/11 | Using Gemini CLI (via MCP) for cross-model code review of the Octavia SFIS Tool. Push it to git server (New_Octavia) on 8/14 Added MD5 verification function and WM2403 NR1(refer to WM2305 NR1) project. Drafted new ATE-to-Octavia interface specification.

## Slide 3: Status report
ID # | Status | Event Description | Plan |  | Actual | To-do & Status update
 |  |  | Start | End | Finish | 
4 | Done | [Miscellaneous] – AI coding agent project | 6/29 | 7/3 | 7/3 | SmartQC: AI-Powered Visual Inspection for Unmanned Manufacturing (Done)
5 | Done | [Miscellaneous] – Adaptive and Modular Test Systems | 8/28 | 9/4 | 9/4 | Integration projects - WIFI_Harmonic 諧波測試導入 UATE，真機驗證通過 Added 231 automated regression tests + version control (none previously) Config GUI completed — no JSON editing required for daily use
6 | Done | [Miscellaneous] – Keysight NA Instrument Control Library | 9/2 | 9/4 | 9/4 | Keysight_NA: refactored VNA control tool into a multi-model architecture (N5232A / N5227B / N5277B) Added connection protocol auto-detection and local transfer of measurement data and screen captures Validated on N5227B hardware; fixed two defects only reproducible on a real instrument Published to Gitea and released v3.